## description
This file includes a summary of the results from the Oncor electric delivery company's EV load integration study, as described in: "Heavy-duty truck electrification and the impacts of depot charging on electricity distribution systems". For the 36 substations assessed, the number requiring upgrades as a result of heavy-duty electric truck depot charging are provided by upgrade type for each simulated scenario. Please cite as: Borlaug, B., Muratori, M., Gilleran, M., Woody, D., Muston, W., Canada, T., Ingram, A., Gresham, H., and McQueen, C. (2021). "Heavy-duty truck electrification and the impacts of depot charging on electricity distribution systems, Nature Energy [...],[...], [doi forthcoming]. This work was authored in part by the National Renewable Energy Laboratory, operated by Alliance for Sustainable Energy, LLC, for the U.S. Department of Energy (DOE) under Contract No. DE-AC36-08GO28308. Funding provided by the U.S. Department of Energy Office of Energy Efficiency and Renewable Energy Vehicle Technologies Office. The views expressed in the article do not necessarily represent the views of the DOE or the U.S. Government. The U.S. Government retains and the publisher, by accepting the article for publication, acknowledges that the U.S. Government retains a nonexclusive, paid-up, irrevocable, worldwide license to publish or reproduce the published form of this work, or allow others to do so, for U.S. Government purposes. Contact: Matteo Muratori, National Renewable Energy Laboratory E: matteo.muratori@nrel.gov

## results-summary
Fleet | EV load profile | Charging strategy | Substations requiring any upgrade (n=36) | New feeder breaker required | Transformer upgrade required | New transformer required | New substation required
Fleet 1: 10 EVs | Average Day EV Profile | 100 kW Immediate | 2 | 1 | 1 | 0 | 0
|  | 100 kW Delayed | 2 | 1 | 1 | 0 | 0
|  | Constant Min | 1 | 1 | 0 | 0 | 0
| Peak Day EV Profile | 100 kW Immediate | 3 | 1 | 1 | 0 | 1
|  | 100 kW Delayed | 3 | 1 | 1 | 0 | 1
|  | Constant Min | 1 | 1 | 0 | 0 | 0
Fleet 1: 100 EVs | Average Day EV Profile | 100 kW Immediate | 6 | 2 | 2 | 1 | 1
|  | 100 kW Delayed | 8 | 1 | 3 | 2 | 2
|  | Constant Min | 3 | 1 | 1 | 0 | 1
| Peak Day EV Profile | 100 kW Immediate | 8 | 1 | 3 | 2 | 2
|  | 100 kW Delayed | 8 | 1 | 3 | 2 | 2
|  | Constant Min | 3 | 1 | 1 | 0 | 1
Fleet 3: 10 EVs | Average Day EV Profile | 100 kW Immediate | 2 | 1 | 1 | 0 | 0
|  | 100 kW Delayed | 2 | 1 | 1 | 0 | 0
|  | Constant Min | 1 | 1 | 0 | 0 | 0
| Peak Day EV Profile | 100 kW Immediate | 3 | 1 | 1 | 0 | 1
|  | 100 kW Delayed | 3 | 1 | 1 | 0 | 1
|  | Constant Min | 2 | 1 | 1 | 0 | 0
Fleet 3: 100 EVs | Average Day EV Profile | 100 kW Immediate | 5 | 2 | 2 | 0 | 1
|  | 100 kW Delayed | 5 | 2 | 2 | 0 | 1
|  | Constant Min | 4 | 1 | 2 | 0 | 1
| Peak Day EV Profile | 100 kW Immediate | 5 | 1 | 2 | 1 | 1
|  | 100 kW Delayed | 6 | 2 | 2 | 1 | 1
|  | Constant Min | 4 | 1 | 2 | 0 | 1