## Overview
TITLE | U.S. Solar Photovoltaic System and Energy Storage Cost Benchmark: Q1 2021
AUTHORS | Vignesh Ramasamy, David Feldman, Robert Margolis
VERSION | Final Version. NREL/TP-7A40-80694
DATE | October, 2021
CONTACT | Vignesh Ramasamy, Researcher III - TEA
David Feldman, Senior Economic & Financial Analyst
vignesh.ramasamy@nrel.gov, david.feldman@nrel.gov
http://www.nrel.gov/
Disclaimer | These cost model results (“Data”) are provided by the National Renewable Energy Laboratory (“NREL”), which is operated by the Alliance for Sustainable Energy LLC (“Alliance”) for the U.S. Department of Energy (the “DOE”). It is recognized that disclosure of these Data is provided under the following conditions and warnings: (1) these Data have been prepared for reference purposes only; (2) these Data consist of forecasts, estimates or assumptions made on a best-efforts basis, based upon present expectations; and (3) these Data were prepared with existing information and are subject to change without notice. The names DOE/NREL/ALLIANCE shall not be used in any representation, advertising, publicity or other manner whatsoever to endorse or promote any entity that adopts or uses these Data. DOE/NREL/ALLIANCE shall not provide any support, consulting, training or assistance of any kind with regard to the use of these Data or any updates, revisions or new versions of these Data. YOU AGREE TO INDEMNIFY DOE/NREL/ALLIANCE, AND ITS AFFILIATES, OFFICERS, AGENTS, AND EMPLOYEES AGAINST ANY CLAIM OR DEMAND, INCLUDING REASONABLE ATTORNEYS' FEES, RELATED TO YOUR USE, RELIANCE, OR ADOPTION OF THESE DATA FOR ANY PURPOSE WHATSOEVER. THESE DATA ARE PROVIDED BY DOE/NREL/ALLIANCE "AS IS" AND ANY EXPRESS OR IMPLIED WARRANTIES, INCLUDING BUT NOT LIMITED TO, THE IMPLIED WARRANTIES OF MERCHANTABILITY AND FITNESS FOR A PARTICULAR PURPOSE ARE EXPRESSLY DISCLAIMED. IN NO EVENT SHALL DOE/NREL/ALLIANCE BE LIABLE FOR ANY SPECIAL, INDIRECT OR CONSEQUENTIAL DAMAGES OR ANY DAMAGES WHATSOEVER, INCLUDING BUT NOT LIMITED TO CLAIMS ASSOCIATED WITH THE LOSS OF DATA OR PROFITS, WHICH MAY RESULT FROM AN ACTION IN CONTRACT, NEGLIGENCE OR OTHER TORTIOUS CLAIM THAT ARISES OUT OF OR IN CONNECTION WITH THE USE OR PERFORMANCE OF THESE DATA.

## Figures ES-1
Comparison of Q1 2020 and Q1 2021 PV cost benchmarks
2020 USD | Residential PV (22 modules) |  | Commercial Rooftop PV (200 kW) |  | Utility One-Axis PV (100 MW)
| 2020 | 2021 | 2020 | 2021 | 2020 | 2021
Module | 0.41094 | 0.33413 | 0.41094 | 0.33413 | 0.41094 | 0.33413
Inverter | 0.25344 | 0.26882 | 0.12496 | 0.089108 | 0.052358 | 0.038388
BOS | 0.31623 | 0.32106 | 0.24549 | 0.25097 | 0.19787 | 0.19699
Soft Costs - Labor | 0.18909 | 0.18276 | 0.15007 | 0.14851 | 0.11249 | 0.11069
Soft Costs - Others (PII, Transmission Line, Sales Tax, Overhead, and Profit) | 1.5742 | 1.548 | 0.81043 | 0.73265 | 0.2443 | 0.21244
Total | 2.7439 | 2.6548 | 1.7419 | 1.5554 | 1.018 | 0.89264

## Figure ES-2
Comparison of Q1 2020 and Q1 2021 stand-alone BESS cost benchmarks
2020 USD | Residential Standalone BESS |  | Commercial Standalone BESS |  | Utility Standalone BESS
| 2020 (5 kW/12.5 kWh nameplate) | 2021 (5 kW/12.5 kWh nameplate) | 2020 (600 kW/240 kWh usable) | 2021 (600 kW/240 kWh usable) | 2020 (60 MW/240 MWh usable) | 2021 (60 MW/240 MWh usable)
Storage System Kit | 521.2429 | 518.8509 | 283.6586 | 301.3167 | 258.6424 | 282.241
Soft Costs - Labor | 69.2921 | 88.8338 | 63.3092 | 57.9265 | 19.6044 | 17.1105
Soft Costs - Others | 512.9819 | 746.1618 | 127.8887 | 121.2845 | 67.3029 | 80.1349
Additional Cost from Model Updates | 395.348 |  | 62.9586 |  | 91.3289
Total | 1498.8649 | 1353.8465 | 537.8151 | 480.5277 | 436.8786 | 379.4864

## Figure ES-3, ES-4, and ES-5
Comparison of Q1 2020 and Q1 2021 residential PV-plus-storage System Cost Benchmarks
2020 USD | Residential PV + BESS (DC Coupled) |  | Residential PV + BESS (AC Coupled)
| 2020 (7 kW/ 5kW 12.5kWh) | 2021 (7.15 kW/ 5kW 12.5kWh) | 2020 (7 kW/ 5kW 12.5kWh) | 2021 (7.15 kW/ 5kW 12.5kWh)
PV Modules and PV Inverter | 2909.9245 | 2388.9974 | 4704.6216 | 4311.042
Storage System Kit | 5404.0298 | 4766.2021 | 5404.0298 | 4766.2021
BOS | 3717.0341 | 3658.6132 | 3390.2166 | 3547.534
Soft Costs - Labor | 2057.0362 | 2272.7843 | 2407.0536 | 2713.6563
Soft Costs - Others | 18233.3671 | 17363.608 | 19035.7037 | 18417.9644
Total | 32321.3918 | 30450.205 | 34941.6253 | 33756.3988
Comparison of Q1 2020 and Q1 2021 commercial PV plus-storage system cost benchmarks
2020 USD | Commercial PV + BESS (DC Coupled) |  | Commercial PV + BESS (AC Coupled)
| 2020 (1 MW/ 600 kW 2400 kWh) | 2021 (1 MW/ 600 kW 2400 kWh) | 2020 (1 MW/ 600 kW 2400 kWh) | 2021 (1 MW/ 600 kW 2400 kWh)
PV Modules and PV Inverter | 410935.7476 | 334125.5086 | 483172.3106 | 403702.2321
Storage System Kit | 502744.8073 | 587622.4499 | 502744.8073 | 588257.4395
BOS | 409893.3513 | 455707.648 | 367847.8012 | 454510.7314
Soft Costs - Labor | 274475.8 | 233950.0541 | 220265.0465 | 78350.4905
Soft Costs - Others | 555545.6757 | 443691.8975 | 518134.4882 | 440224.7434
Additional Cost from Model Updates | 111089.9062 |  | 78686.1756
Total | 2264685.2882 | 2055097.5581 | 2170850.6293 | 1965045.6369
Comparison of Q1 2020 and Q1 2021 utility-scale PV-plus-storage system cost benchmarks
2020 USD | Utility PV + BESS (DC Coupled) |  | Utility PV + BESS (AC Coupled)
| 2020 (100 MW/ 60 MW 240 MWh) | 2021 (100 MW/ 60 MW 240 MWh) | 2020 (100 MW/ 60 MW 240 MWh) | 2021 (100 MW/ 60 MW 240 MWh)
PV Modules and PV Inverter | 41093574.7584 | 33412550.8583 | 46329377.8765 | 37251308.9992
Storage System Kit | 50274480.7288 | 57701691.3138 | 50274480.7288 | 56703850.4284
BOS | 29658079.7092 | 30702049.9849 | 25945194.4493 | 29814254.0682
Soft Costs - Labor | 15731053.098 | 14118324.7414 | 13584362.8812 | 11148901.6815
Soft Costs - Others | 38219776.9946 | 32233658.3816 | 37042012.3236 | 32143498.0396
Additional Cost from Model Updates | 15156931.3977 |  | 17237834.2217
Total | 190133896.6868 | 168168275.2801 | 190413262.4813 | 167061813.217

## Figure ES-6
LCOE, 2020–2021
2020 USD | Residential |  | Commercial |  | Utility-scale
| PV-plus-storage | Standalone PV | PV-plus-storage | Standalone PV | PV-plus-storage | Standalone PV
2020 (Including Additional Cost From Model Updates) | 23.5622 | 12.9789 | 12.2436 | 9.1368 | 8.8744 | 4.6068
2021 | 20.4975 | 11.86 | 11.4062 | 8.349 | 7.7184 | 4.058

## Figure 2, 3, 4
Q1 2021 U.S. benchmark: 7.15-kW residential PV system cost (2020 USD/WDC)
2020 USD | String Inverter Option |  |  | Power Optimizer Option |  |  | Microinverter Option |  |  | Mixed
| Small Installer | National Integrator | Weighted Average | Small Installer | National Integrator | Weighted Average | Small Installer | National Integrator | Weighted Average | Weighted Average
Module | 0.33413 | 0.33413 | 0.33413 | 0.33413 | 0.33413 | 0.33413 | 0.33413 | 0.33413 | 0.33413 | 0.33413
Inverter | 0.14834 | 0.14834 | 0.14834 | 0.27298 | 0.27298 | 0.27298 | 0.30947 | 0.30947 | 0.30947 | 0.26882
Structual BoS | 0.089391 | 0.089391 | 0.089391 | 0.089391 | 0.089391 | 0.089391 | 0.089391 | 0.089391 | 0.089391 | 0.089391
Electrical BoS | 0.22309 | 0.22309 | 0.22309 | 0.18911 | 0.18911 | 0.18911 | 0.30468 | 0.30468 | 0.30468 | 0.23167
Supply Chain Costs | 0.23578 | 0.15412 | 0.20557 | 0.27431 | 0.18019 | 0.23948 | 0.30442 | 0.20665 | 0.26824 | 0.24456
Sales Tax | 0.052567 | 0.048402 | 0.051026 | 0.059156 | 0.054355 | 0.05738 | 0.068446 | 0.06346 | 0.066601 | 0.059597
Install Labor | 0.19509 | 0.19509 | 0.19509 | 0.19165 | 0.19165 | 0.19165 | 0.16337 | 0.16337 | 0.16337 | 0.18276
Permitting, Inspection, Interconnection | 0.20585 | 0.22848 | 0.21422 | 0.20585 | 0.22848 | 0.21422 | 0.20585 | 0.22848 | 0.21422 | 0.21422
Profit | 0.25232 | 0.24158 | 0.24834 | 0.27482 | 0.26185 | 0.27002 | 0.30256 | 0.28894 | 0.29752 | 0.27628
Sales & Marketing (Customer acquisition) | 0.41541 | 0.57908 | 0.47597 | 0.41541 | 0.57908 | 0.47597 | 0.41541 | 0.57908 | 0.47597 | 0.47597
Overhead (General & Admin.) | 0.274 | 0.2832 | 0.27741 | 0.274 | 0.2832 | 0.27741 | 0.274 | 0.2832 | 0.27741 | 0.27741
Total Price | 2.426 | 2.5249 | 2.4626 | 2.5808 | 2.6644 | 2.6117 | 2.7717 | 2.8508 | 2.801 | 2.6548
Q1 2021 U.S. residential benchmark, by PV system size (2020 USD/WDC)
2020 USD | Mixed Weighted Average
| 3 kWdc | 5 kWdc | 7.15 kWdc | 9 kWdc | 11 kWdc
Module | 0.33413 | 0.33413 | 0.33413 | 0.33413 | 0.33413
Inverter | 0.26882 | 0.26882 | 0.26882 | 0.26882 | 0.26882
Structual BoS | 0.21309 | 0.12786 | 0.089391 | 0.07103 | 0.058116
Electrical BoS | 0.42078 | 0.29002 | 0.23167 | 0.19873 | 0.17967
Supply Chain Costs | 0.29149 | 0.25909 | 0.24456 | 0.23687 | 0.23207
Sales Tax | 0.077943 | 0.065275 | 0.059597 | 0.056588 | 0.054713
Install Labor | 0.31053 | 0.22277 | 0.18276 | 0.15129 | 0.14035
Permitting, Inspection, Interconnection | 0.51056 | 0.30634 | 0.21422 | 0.17019 | 0.13924
Profit | 0.41265 | 0.31863 | 0.27628 | 0.2529 | 0.23921
Sales & Marketing (Customer acquisition) | 1.1344 | 0.68064 | 0.47597 | 0.37813 | 0.30938
Overhead (General & Admin.) | 0.66115 | 0.39669 | 0.27741 | 0.22038 | 0.18031
Total Price | 4.6355 | 3.2703 | 2.6548 | 2.3391 | 2.136
Sensitivity analysis: Mixed 7.15-kW residential system cost (2020 USD/WDC)
2020 USD | Low $/w | High $/w
Inverter Type | 2.46 | 2.8
Electrician Labor | 2.5693 | 2.7292
Sales Tax | 2.5851 | 2.6876
Construction Labor | 2.6214 | 2.6899
Module Efficiency | 2.6338 | 2.6708

## Figure 6, 7, 8, 9
Q1 2021 U.S. benchmark: Commercial rooftop PV system cost (2020 USD/WDC)
2020 USD | 0.1 MW | 0.2 MW | 0.5 MW | 1 MW | 2 MW
Module | 0.33413 | 0.33413 | 0.33413 | 0.33413 | 0.33413
Inverter Only | 0.089108 | 0.089108 | 0.089108 | 0.089108 | 0.089108
Structural BOS | 0.10821 | 0.10821 | 0.10821 | 0.10821 | 0.10821
Electrical BOS | 0.16055 | 0.14276 | 0.13108 | 0.12748 | 0.12521
Install Labor & Equipment | 0.18879 | 0.14851 | 0.1247 | 0.11706 | 0.11331
EPC Overhead | 0.1803 | 0.16323 | 0.15306 | 0.14987 | 0.14819
Land Acquisition | 0 | 0 | 0 | 0 | 0
Permitting, Inspection, Interconnection | 0.11792 | 0.088443 | 0.070755 | 0.064859 | 0.061911
Sales Tax (if any) | 0.042373 | 0.040316 | 0.039023 | 0.038609 | 0.038382
Contingency (4%) | 0.044138 | 0.039871 | 0.037285 | 0.036456 | 0.03602
Developer Overhead | 0.33103 | 0.29903 | 0.27964 | 0.27342 | 0.27015
EPC/Developer Profit | 0.11176 | 0.10175 | 0.095689 | 0.093744 | 0.092723
Total System Cost | 1.7083 | 1.5554 | 1.4627 | 1.4329 | 1.4173
Q1 2021 U.S. benchmark: Commercial ground-mounted PV system cost (2020 USD/WDC)
2020 USD | 0.1 MW | 0.2 MW | 0.5 MW | 1 MW | 2 MW
Module | 0.33413 | 0.33413 | 0.33413 | 0.33413 | 0.33413
Inverter Only | 0.069577 | 0.069577 | 0.069577 | 0.069577 | 0.069577
Structural BOS | 0.17624 | 0.14456 | 0.12555 | 0.11921 | 0.11604
Electrical BOS | 0.45044 | 0.34607 | 0.25242 | 0.19528 | 0.16387
Install Labor & Equipment | 0.20229 | 0.17043 | 0.15046 | 0.14261 | 0.13826
EPC Overhead | 0.16736 | 0.13322 | 0.10823 | 0.095894 | 0.089094
Land Acquisition | 0 | 0 | 0 | 0 | 0
Permitting, Inspection, Interconnection | 0.09954 | 0.062285 | 0.039368 | 0.031909 | 0.028322
Sales Tax (if any) | 0.064928 | 0.056939 | 0.050286 | 0.046571 | 0.044547
Contingency (3%) | 0.06258 | 0.052684 | 0.045205 | 0.041412 | 0.039358
Developer Overhead | 0.46935 | 0.39516 | 0.33901 | 0.31056 | 0.29515
EPC/Developer Profit | 0.16771 | 0.14121 | 0.12114 | 0.11097 | 0.10547
Total System Cost | 2.2641 | 1.9063 | 1.6354 | 1.4981 | 1.4238
Sensitivity analysis: 200-kW rooftop commercial PV system cost
2020 USD | Low $/w | High $/w
Inverter Type | 1.5257 | 1.8869
Electrician Labor | 1.464 | 1.6255
Construction Labor | 1.4914 | 1.6134
Material Location Factor | 1.5259 | 1.631
Sales Tax | 1.4952 | 1.5697
Equipment Location Factor | 1.5288 | 1.5922
Module Efficiency | 1.5421 | 1.5707
Equipment Operator Labor | 1.5458 | 1.5604
Sensitivity analysis: 500-kW groundmount commercial PV system cost
2020 USD | Low $/w | High $/w
Material Location Factor | 1.5873 | 1.7746
Equipment Location Factor | 1.5645 | 1.7514
Construction Labor | 1.5676 | 1.7022
Sales Tax | 1.5626 | 1.6567
Equipment Operator Labor | 1.6132 | 1.6593
Module Efficiency | 1.6161 | 1.65
Electrician Labor | 1.6169 | 1.6504

## Figure 11, 12
Q1 2021 U.S. benchmark: Utility-scale PV total cost (EPC + developer), 2020 USD/WDC
| Fixed-Tilt |  |  |  | One-Axis Tracker
2020 USD | 5 | 10 | 50 | 100 | 5 | 10 | 50 | 100
Module | 0.33413 | 0.33413 | 0.33413 | 0.33413 | 0.33413 | 0.33413 | 0.33413 | 0.33413
Inverter Only | 0.037508 | 0.037508 | 0.037508 | 0.037508 | 0.038388 | 0.038388 | 0.038388 | 0.038388
Structural BOS | 0.10782 | 0.10609 | 0.096861 | 0.085887 | 0.15644 | 0.15421 | 0.14088 | 0.12479
Electrical BOS | 0.1342 | 0.11659 | 0.089206 | 0.071768 | 0.13618 | 0.11821 | 0.090109 | 0.072208
Install Labor & Equipment | 0.1214 | 0.119 | 0.11017 | 0.10118 | 0.13286 | 0.13031 | 0.12064 | 0.11069
EPC Overhead | 0.077027 | 0.072664 | 0.059948 | 0.047018 | 0.088378 | 0.083711 | 0.069113 | 0.054104
Sales Tax (if any) | 0.039883 | 0.038747 | 0.037133 | 0.035552 | 0.043078 | 0.041891 | 0.040012 | 0.038105
Land Acquisition | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Permitting Fee (if any) | 0.03939 | 0.019695 | 0.003939 | 0.0019695 | 0.03939 | 0.019695 | 0.003939 | 0.0019695
Interconnection Fee | 0.021238 | 0.02121 | 0.021221 | 0.021221 | 0.021738 | 0.02171 | 0.021716 | 0.021716
Transmission Line (if any) | 0 | 0 | 0.010772 | 0.012218 | 0 | 0 | 0.011113 | 0.012547
Developer Overhead | 0.10399 | 0.066864 | 0.025113 | 0.015912 | 0.11288 | 0.072782 | 0.027279 | 0.017191
Contingency (3%) | 0.027377 | 0.025969 | 0.024059 | 0.02249 | 0.029717 | 0.028267 | 0.026134 | 0.024297
EPC/Developer Profit | 0.083516 | 0.075164 | 0.055925 | 0.039343 | 0.090654 | 0.081816 | 0.060753 | 0.042506
Total System Cost | 1.1275 | 1.0336 | 0.90598 | 0.8262 | 1.2238 | 1.1251 | 0.9842 | 0.89264
Sensitivity analysis: 100-MW one-axis utility-scale PV system cost
2020 USD | Low $/w | High $/w
Equipment Location Factor | 0.84542 | 0.96994
Construction Labor | 0.85538 | 0.9294
Material Location Factor | 0.87595 | 0.94097
Sales Tax | 0.85058 | 0.90496
Equipment Operator Labor | 0.88145 | 0.90469
Module Efficiency | 0.88107 | 0.90141
Electrician Labor | 0.88704 | 0.89722

## Figure 13, 14, 16
Installed cost of typical residential storage system only
2020 USD | DC-coupled 5 kW, 12.5 kWh | AC-coupled 5 kW, 12.5 kWh
Battery | 2714.7698 | 2714.7698
Battery Inverter (Bidirectional) | 2051.4324 | 2051.4324
PV Inverter (Grid-Tied) | 0 | 0
BOS | 1578.2591 | 1334.5514
Supply Chain Cost | 317.2231 | 305.0377
Sales Tax | 398.3567 | 383.7342
Install Labor (Burdened) | 813.211 | 1096.7518
Engineering Fee | 98.2722 | 98.2722
Permitting, Inspection, Interconnection | 1152.4766 | 1667.4765
Sales & Marketing | 3365.52 | 3764.1185
Overhead & Profit | 3362.9748 | 3298.5948
Total | 15852.4955 | 16714.7392
Installed cost of stand-alone residential AC storage system by size
2020 USD | 5 kW 7.5 kWh | 5 kW 12.5 kWh | 10 kW 25.0 kWh
Battery | 1628.8619 | 2714.7698 | 5429.5395
Battery Inverter (Bidirectional) | 1230.8594 | 2051.4324 | 4102.8647
PV Inverter (Grid-Tied) | 0 | 0 | 0
Electrical BOS | 1334.5514 | 1334.5514 | 1334.5514
Supply Chain Cost | 209.7136 | 305.0377 | 543.3478
Sales Tax | 269.3454 | 383.7342 | 669.7063
Install Labor (Burdened) | 1096.7518 | 1096.7518 | 1285.503
Engineering Fee | 98.2722 | 98.2722 | 98.2722
Permitting, Inspection, Interconnection | 1667.4765 | 1667.4765 | 1667.484
Sales & Marketing | 3764.1185 | 3764.1185 | 6466.6187
Overhead & Profit | 2981.1658 | 3298.5948 | 5103.2022
Total | 14281.1165 | 16714.7392 | 26701.0899
System Cost for residential PV-plus-storage systems, DC-coupled versus AC-coupled case
2020 USD | PV (7.15 kW) + Storage DC coupled Battery = 5 kW, 12.5 kWh Inverter = 8 kW Critical load = 8kW | PV (7.15 kW) + Storage AC coupled Battery = 5 kW, 12.5 kWh Inverter = 8 kW Critical load = 8kW
PV Modules | 2388.9974 | 2388.9974
Lithium-ion Battery | 2714.7698 | 2714.7698
PV Inverter (Grid-Tied) | 0 | 1922.0446
Battery Inverter (Bidirectional) | 2051.4324 | 2051.4324
Structural BOS | 639.1432 | 639.1432
Electrical BOS | 3019.47 | 2908.3908
Supply Chain Costs | 2071.8751 | 2065.7041
Sales Tax | 746.1531 | 871.1097
Install Labor (Burdened) & Equipment | 2272.7843 | 2713.6563
Permitting, Inspection, Interconnection | 1531.6947 | 1531.6947
Overhead (General & Admin.) | 3948.8908 | 3948.8908
Sales & Marketing (Customer acquisition) | 7102.0048 | 7699.8
Profit | 1962.9895 | 2300.7652
Total | 30450.205 | 33756.3988

## Figure 19
U.S. Commercial Li-Ion Battery Stand-Alone Storage Costs for Durations of 0.5–4.0 Hours (600 kWDC), Q1 2021
| 4 hour |  | 2 hour |  | 1 hour |  | 0.5 hour
2020 USD | $/kWh usable | $/kWh nameplate | $/kWh usable | $/kWh nameplate | $/kWh usable | $/kWh nameplate | $/kWh usable | $/kWh nameplate
Lithium-ion Battery Cabinets | 225.9442 | 173.8032 | 244.9271 | 188.4055 | 330.1619 | 253.9707 | 413.7588 | 318.276
Battery Central Inverter | 19.1631 | 14.7408 | 38.3262 | 29.4817 | 76.6523 | 58.9633 | 153.3046 | 117.9267
Structural BOS | 10.28 | 7.9077 | 20.56 | 15.8154 | 41.1201 | 31.6308 | 82.2402 | 63.2617
Electrical BOS | 45.9294 | 35.3303 | 91.8588 | 70.6606 | 183.7176 | 141.3212 | 367.4351 | 282.6424
Installation Labor & Equipment | 57.9265 | 44.5588 | 115.853 | 89.1177 | 231.706 | 178.2354 | 463.4119 | 356.4707
EPC Overhead | 31.6609 | 24.3546 | 63.3218 | 48.7091 | 126.6437 | 97.4182 | 253.2874 | 194.8364
Sales Tax | 18.3293 | 14.0994 | 24.6548 | 18.9652 | 40.0474 | 30.8057 | 65.7941 | 50.6109
Permitting fee | 3.5486 | 2.7297 | 7.0972 | 5.4594 | 14.1944 | 10.9188 | 28.3889 | 21.8376
Interconnection fee | 6.1592 | 4.7378 | 12.3184 | 9.4757 | 24.6367 | 18.9513 | 49.2735 | 37.9027
Contingency | 14.3481 | 11.037 | 21.7589 | 16.7376 | 38.1649 | 29.3576 | 68.065 | 52.3577
Developer overhead | 24.7014 | 19.0011 | 36.2649 | 27.8961 | 62.3926 | 47.9943 | 109.1332 | 83.9486
EPC/developer net profit | 22.537 | 17.3361 | 33.122 | 25.4784 | 57.0217 | 43.8628 | 99.8042 | 76.7725
Developer cost | 71.2943 | 54.8418 | 110.5614 | 85.0472 | 196.4104 | 151.0849 | 354.6648 | 272.8191
∑ Total energy storage system cost | 480.5277 | 369.6367 | 710.0631 | 546.2024 | 1226.4593 | 943.4302 | 2153.8969 | 1656.8438

## Figure 20
Cost benchmark for Commercial PV-plus-storage systems (4-hour duration) in different sites and the same site (DC-coupled and AC-coupled cases), Q1 2021
2020 USD | 1-MW PV System | 600 kW / 2400 kWh Battery Storage System | 1-MW PV + 600kW / 2400kWh Battery Storage DC Coupled | 1-MW PV + 600kW / 2400kWh Battery Storage AC Coupled | 1-MW PV + 600kW / 2400kWh Battery Storage in Different Sites
PV Module | 334125.5086 | 0 | 334125.5086 | 334125.5086 | 334125.5086
Lithium-ion Battery | 0 | 542266.046 | 542266.046 | 542266.046 | 542266.046
Solar Inverter | 69576.7236 | 0 | 0 | 69576.7236 | 69576.7236
Bidirectional Inverter | 0 | 45991.3935 | 45356.4039 | 45991.3935 | 45991.3935
Structural BOS | 119214.016 | 24672.0596 | 129041.2369 | 143883.86 | 143886.0756
Electrical BOS | 195276.7053 | 110230.5325 | 326666.4112 | 310626.8714 | 305507.2378
Install Labor & Equipment | 142612.6288 | 140295.6687 | 233950.0541 | 78350.4905 | 282908.2975
EPC Overhead | 95894.021 | 76624.1407 | 89655.5013 | 69271.9588 | 172518.1616
Sale Tax | 46571.1996 | 43995.274 | 82647.3364 | 86788.2242 | 90566.4736
∑ EPC Cost | 1003270.8028 | 984075.115 | 1783708.4982 | 1680881.0766 | 1987345.9178
Land Acquisition | 0 | 0 | 0 | 0 | 0
Permitting Fee | 7449.0334 | 8516.6627 | 8516.6627 | 8686.9959 | 8516.6627
Interconnection Fee | 24462.1575 | 14677.2945 | 14677.2945 | 14970.8404 | 14677.2945
Transmission Line | 0 | 0 | 0 | 0 | 0
Contingency (3%) | 41411.9086 | 34512.5883 | 42019.4869 | 44103.8472 | 75924.4969
Developer Overhead | 310559.833 | 59398.2868 | 84038.9738 | 88207.6944 | 369958.1199
EPC/Developer Net Profit | 110968.9777 | 54194.1161 | 122136.642 | 128195.1825 | 165163.0939
∑ Developer Cost | 494851.9103 | 171298.9485 | 271389.0599 | 284164.5604 | 634239.6679
Total Cost | 1498122.7132 | 1155374.0634 | 2055097.5581 | 1965045.6369 | 2621585.5857

## Figure 22
U.S. utility-scale Li-ion battery stand-alone storage costs for durations of 0.5–4.0 hours (60 MWDC), Q1 2021
| 4 hour |  | 2 hour |  | 1 hour |  | 0.5 hour
2020 USD | $/kWh usable | $/kWh nameplate | $/kWh usable | $/kWh nameplate | $/kWh usable | $/kWh nameplate | $/kWh usable | $/kWh nameplate
Lithium-ion Battery Cabinets | 221.5252 | 170.404 | 225.3578 | 173.3522 | 280.292 | 215.6092 | 303.2877 | 233.2982
Battery Central Inverter | 19.1631 | 14.7408 | 38.3262 | 29.4817 | 76.6523 | 58.9633 | 153.3046 | 117.9267
Structural BOS | 3.2595 | 2.5073 | 5.2327 | 4.0251 | 9.179 | 7.0607 | 17.0716 | 13.132
Electrical BOS | 38.2932 | 29.4563 | 51.1213 | 39.3241 | 76.7775 | 59.0596 | 128.0899 | 98.5307
Installation Labor & Equipment | 17.1105 | 13.1619 | 25.4736 | 19.5951 | 42.1998 | 32.4614 | 75.6523 | 58.194
EPC Overhead | 10.6476 | 8.1905 | 14.872 | 11.44 | 23.3207 | 17.939 | 40.2181 | 30.937
Sales Tax | 16.4991 | 12.6917 | 18.6326 | 14.3327 | 25.641 | 19.7239 | 34.6193 | 26.6302
Permitting fee | 0.75751 | 0.5827 | 1.515 | 1.1654 | 3.0301 | 2.3308 | 6.0601 | 4.6616
Interconnection fee | 5.1864 | 3.9895 | 10.3728 | 7.9791 | 20.7456 | 15.9581 | 41.4912 | 31.9163
Contingency | 9.6643 | 7.4341 | 11.1093 | 8.5456 | 15.4995 | 11.9227 | 21.5225 | 16.5558
Developer overhead | 19.5911 | 15.0701 | 22.7434 | 17.4949 | 32.0487 | 24.6528 | 45.1444 | 34.7265
EPC/developer net profit | 17.7887 | 13.6836 | 20.6455 | 15.8811 | 29.0846 | 22.3728 | 40.9537 | 31.5029
Developer cost | 52.9881 | 40.7601 | 66.386 | 51.0662 | 100.4084 | 77.2372 | 155.1719 | 119.363
∑ Total energy storage system cost | 379.4864 | 291.9126 | 445.4021 | 342.617 | 634.4707 | 488.0544 | 907.4155 | 698.0119

## Figure 24
Cost benchmark for Utility PV-plus-storage systems (4-hour duration) in different sites and the same site (DC-coupled and AC-coupled cases), Q1 2021
2020 USD | 100-MW PV System | 60 MW / 240 MWh Battery Storage System | 100-MW PV + 60 MW / 240 MWh Battery Storage DC Coupled | 100-MW PV + 60 MW / 240 MWh Battery Storage AC Coupled | 100-MW PV + 60 MW / 240 MWh Battery Storage in Different Sites
PV Module | 33412550.8583 | 0 | 33412550.8583 | 33412550.8583 | 33412550.8583
Lithium-ion Battery | 0 | 53166050.9258 | 53166050.9258 | 53166050.9258 | 53166050.9258
Solar Inverter | 3838758.1409 | 0 | 0 | 3838758.1409 | 3838758.1409
Bidirectional Inverter | 0 | 3537799.5026 | 4535640.388 | 3537799.5026 | 3537799.5026
Structural BOS | 12478572.6887 | 782283.3983 | 13806843.0489 | 13260634.5189 | 13260856.0869
Electrical BOS | 7220844.4979 | 9190374.9687 | 16895206.936 | 16553619.5493 | 16411219.4665
Install Labor & Equipment | 11069288.3127 | 4119935.2325 | 14118324.7414 | 11148901.6815 | 15189223.5452
EPC Overhead | 5410367.763 | 2558661.8116 | 5826648.7144 | 5325210.2475 | 7969029.5746
Sale Tax | 3810547.0484 | 3960296.3977 | 7308977.5294 | 7426164.8098 | 7770843.4461
∑ EPC Cost | 77240929.3099 | 77315402.2371 | 149070243.1423 | 147669690.2346 | 154556331.547
Land Acquisition | 0 | 0 | 0 | 0 | 0
Permitting Fee | 196947.8242 | 181803.5856 | 181803.5856 | 185439.6573 | 378751.4098
Interconnection Fee | 2171572.4406 | 1302943.4643 | 2171572.4406 | 2215003.8894 | 3474515.9049
Transmission Line | 1254741.514 | 0 | 1254741.514 | 1254741.514 | 1254741.514
Contingency (3%) | 2429689.9572 | 2319958.3997 | 3762732.2909 | 3822737.9567 | 4749648.3569
Developer Overhead | 1719057.6822 | 4702899.3419 | 5016976.3879 | 5096983.9423 | 6421957.0241
EPC/Developer Net Profit | 4250646.9364 | 4270225.672 | 6710205.9188 | 6817216.0228 | 8520872.6084
∑ Developer Cost | 12022656.3546 | 12777830.4635 | 19098032.1378 | 19392122.9824 | 24800486.8181
Total Cost | 89263585.6645 | 90093232.7006 | 168168275.2801 | 167061813.217 | 179356818.3651

## Figure 25
Q1 2021 residential, commercial, and utility-scale O&M costs by category
2020 USD | Residential Rooftop | Commercial Rooftop | Commercial Ground-Mount | Utility-scale fixed-tilt | Utility-scale One-Axis
Module cleaning | 0 | 2.3144 | 1.9702 | 1.6669 | 1.6669
Vegetation and/or Pest Management | 1.3324 | 0.20991 | 0.69687 | 0.60621 | 0.60625
System inspection and monitoring | 2.4887 | 2.9863 | 2.1361 | 1.3008 | 1.7266
Component parts replacement | 4.5333 | 0.70279 | 0.26096 | 0.4647 | 1.2559
Module replacement | 0.17554 | 0.22805 | 0.22805 | 0.28669 | 0.28669
Inverter replacement | 3.0285 | 3.3802 | 2.133 | 2.9195 | 2.9963
Land lease | 0 | 0 | 2.1153 | 2.1043 | 2.1043
Property tax | 1.9 | 1.6746 | 1.6746 | 1.6659 | 1.6659
Insurance | 12.031 | 3.4373 | 3.6136 | 1.8193 | 1.9508
Asset management and security | 0 | 1.5865 | 1.5865 | 1.5784 | 1.5782
Operations administration | 3.4843 | 1.3999 | 0.689 | 0.19433 | 0.21762
Total | 28.9737 | 17.92 | 17.1041 | 14.6071 | 16.0555